## Condoms and Personal Lubricant
GHSC ELIGIBLE MALE AND FEMALE CONDOMS AND PERSONAL LUBRICANT PRODUCT LIST [PUBLISHED 17 AUG 2020 UNCONTROLLED COPY]
CLICK HERE TO REPORT CORRECTIONS OR OMISSIONS WITH THIS LIST
DISCLAIMER (PUBLIC VERSION): The information contained in these eligible lists is provided for informational purposes only and represent the recommendation for procurement by the Global Health Supply Chain Program (GHSC), based on USAID and GHSC-PSM procurement strategies at the time of publication and may not reflect the current eligibility status. While efforts have been made to accurately represent each product, the information contained herein is based on information available to GHSC-QA and may not be all inclusive or be reflective of the currently marketed product. Also, the information in this list is not intended to be an endorsement of the supplier/manufacturer/product. Donors and other procurement agents are encouraged to follow their own guidelines and procedures for procurement decision making.
GTIN# | Product Classification | Brand Name | Medical Device Components | Medical Device Attributes | Shelf-life (months) | Storage Instructions | Primary Packaging | Supplier (Vendor) | Manufacturer | Manufacturing Site | Regulatory Basis of Approval
40861783000100 | Nitrile Female Condom | FC2 | Synthetic nitrile | 17 cm | 60 | Do not store above 30°C | 1000 pieces/case | Veru Inc. | The Female Health Company (UK) Plc. A subsidiary of Veru Inc. | No. 1A, Jalan CJ 1/4, Kawasan Perindustrian Cheras Jaya, 43200 Belakong, Selangor D.E. Malaysia | US FDA 510K: USAID
40861783000100 | Nitrile Female Condom | FC2: Purple Color + Vanilla Fragrance | Synthetic nitrile | 17 cm | 60 | Do not store above 30°C | 1000 pieces/case | Veru Inc. | The Female Health Company (UK) Plc. A subsidiary of Veru Inc. | No. 1A, Jalan CJ 1/4, Kawasan Perindustrian Cheras Jaya, 43200 Belakong, Selangor D.E. Malaysia | USAID (based on UNFPA and US 510K)
40861783000100 | Nitrile Female Condom | FC2: Red (Pink) Color + Strawberry Fragrance | Synthetic nitrile | 17 cm | 60 | Do not store above 30°C | 1000 pieces/case | Veru Inc. | The Female Health Company (UK) Plc. A subsidiary of Veru Inc. | No. 1A, Jalan CJ 1/4, Kawasan Perindustrian Cheras Jaya, 43200 Belakong, Selangor D.E. Malaysia | USAID (based on UNFPA and US 510K)
40861783000100 | Nitrile Female Condom | FC2: Light Brown Color + Caramel Fragrance | Synthetic nitrile | 17 cm | 60 | Do not store above 30°C | 1000 pieces/case | Veru Inc. | The Female Health Company (UK) Plc. A subsidiary of Veru Inc. | No. 1A, Jalan CJ 1/4, Kawasan Perindustrian Cheras Jaya, 43200 Belakong, Selangor D.E. Malaysia | USAID (based on UNFPA and US 510K)
| Water -based Personal Lubricant | Personal Lubricant Water Based (LO PLAIN) | Glycerin | NA | 36 | Store in a cool dry place, away from direct sunlight | 4.5 g per sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | US FDA 510K: USAID
| Water-based Personal Lubricant | Personal Lubricant Water Based (One Touch) | Glycerin | NA | 36 | Store at Room Temperature. | 4.5 g per sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Water -based Personal Lubricant | Personal Lubricant Water Based (C18207) | Glycerin | NA | 36 | Store in a cool, dry place. Avoid from direct sunlight. | 4.5 g per sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | US FDA 510K: USAID
| Male Latex Condom | Natural Condom | Silicone lubricated latex | 49 mm straight walled | 60 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | US FDA 510K: USAID
| Male Latex Condom | Natural Condom | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | US FDA 510K: USAID
| Male Latex Condom | Natural Condom | Silicone lubricated latex | 49 mm straight walled | 60 | Store in a cool dry place away from direct sunlight and mechanical damages. | Foil Sachet | Karex Industries | Innolatex Sdn. Bhd. | Lot 591 & 594, Persiaran Raja Lumu Pandamaran Industrial Estate 42000 Port Klang, Selanor Darul, Ehsan, Malaysia | US FDA 510K: USAID
| Male Latex Condom | Natural Condom | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place away from direct sunlight and mechanical damages. | Foil Sachet | Karex Industries | Innolatex Sdn. Bhd. | Lot 591 & 594, Persiaran Raja Lumu Pandamaran Industrial Estate 42000 Port Klang, Selanor Darul, Ehsan, Malaysia | US FDA 510K: USAID
| Male Latex Condom | Natural Condom | Silicone lubricated latex | 49 mm straight walled | 60 | Store in cool dry place away from direct sunlight. | Foil Sachet | Karex Industries | Innolatex (Thailand) Limited | Lot E1-6, Export Processing Zone Southern Industrial Estate, Village 4, Chalung sub-district, Hatyai Distric, Songkhla, Thailand 90110 | US FDA 510K: USAID
| Male Latex Condom | Natural Condom | Silicone lubricated latex | 53 mm straight walled | 60 | Store in cool dry place away from direct sunlight. | Foil Sachet | Karex Industries | Innolatex (Thailand) Limited | Lot E1-6, Export Processing Zone Southern Industrial Estate, Village 4, Chalung sub-district, Hatyai Distric, Songkhla, Thailand 90110 | US FDA 510K: USAID
| Male Latex Condom | Natural Condom | Silicone lubricated latex | 49 mm straight walled | 60 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | US FDA 510K: USAID
| Male Latex Condom | Natural Condom | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | US FDA 510K: USAID
| Male Latex Condom | Natural Condom | Silicone lubricated latex | 49 mm straight walled | 60 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | US FDA 510K: USAID
| Male Latex Condom | Natural Condom | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | US FDA 510K: USAID
| Male Latex Condom | Natural Condom | Silicone lubricated latex | 49 mm straight walled | 60 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | US FDA 510K: USAID
| Male Latex Condom | Natural Condom | Silicone lubricated latex | 49 mm straight walled | 60 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Male Latex Condom | Natural Condom | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | US FDA 510K: USAID
| Male Latex Condom | Natural Condom | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Male Latex Condom | RED/STRAWBERRY Condom | Silicone lubricated latex | 49 mm straight walled Red / Strawberry | 48 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | US FDA 510K: USAID
| Male Latex Condom | RED/STRAWBERRY Condom | Silicone lubricated latex | 53 mm straight walled Red / Strawberry | 48 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | US FDA 510K: USAID
| Male Latex Condom | YELLOW/BANANA Condom | Silicone lubricated latex | 49 mm straight walled Yellow/Banana | 48 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | US FDA 510K: USAID
| Male Latex Condom | YELLOW/BANANA Condom | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | US FDA 510K: USAID
| Male Latex Condom | GREEN/PEPPERMINT Condom | Silicone lubricated latex | 49 mm straight walled Green/Peppermint | 48 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | US FDA 510K: USAID
| Male Latex Condom | GREEN/PEPPERMINT Condom | Silicone lubricated latex | 53 mm straight walled Green/Peppermint | 48 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | US FDA 510K: USAID
| Male Latex Condom | ORANGE/ORANGE Condom | Silicone lubricated latex | 49 mm straight walled Orange/Orange | 48 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | US FDA 510K: USAID
| Male Latex Condom | ORANGE/ORANGE Condom | Silicone lubricated latex | 53 mm straight walled Orange/Orange | 48 | Store in a well ventilated, dry storage conditions away from direct sources of heat including sunlight | Foil Sachet | Karex Industries | Karex Industries Sdn. Bhd. | Lot 2244, Batu 39 1/2 Pontian Besar 82000 Pontian Johor, Malaysia | US FDA 510K: USAID
| Male Latex Condom | RED/STRAWBERRY Condom | Silicone lubricated latex | 49 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Karex Industries | Innolatex Sdn. Bhd. | Lot 591 & 594, Persiaran Raja Lumu Pandamaran Industrial Estate 42000 Port Klang, Selanor Darul, Ehsan, Malaysia | US FDA 510K: USAID
| Male Latex Condom | RED/STRAWBERRY Condom | Silicone lubricated latex | 53 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Karex Industries | Innolatex Sdn. Bhd. | Lot 591 & 594, Persiaran Raja Lumu Pandamaran Industrial Estate 42000 Port Klang, Selanor Darul, Ehsan, Malaysia | US FDA 510K: USAID
| Male Latex Condom | YELLOW/BANANA Condom | Silicone lubricated latex | 49 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Karex Industries | Innolatex Sdn. Bhd. | Lot 591 & 594, Persiaran Raja Lumu Pandamaran Industrial Estate 42000 Port Klang, Selanor Darul, Ehsan, Malaysia | US FDA 510K: USAID
| Male Latex Condom | YELLOW/BANANA Condom | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Karex Industries | Innolatex Sdn. Bhd. | Lot 591 & 594, Persiaran Raja Lumu Pandamaran Industrial Estate 42000 Port Klang, Selanor Darul, Ehsan, Malaysia | US FDA 510K: USAID
| Male Latex Condom | RED/STRAWBERRY Condom | Silicone lubricated latex | 49 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from direct sunlight | Foil Sachet | Karex Industries | Innolatex (Thailand) Limited | Lot E1-6, Export Processing Zone Southern Industrial Estate, Village 4, Chalung sub-district, Hatyai Distric, Songkhla, Thailand 90110 | US FDA 510K: USAID
| Male Latex Condom | RED/STRAWBERRY Condom | Silicone lubricated latex | 53 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from direct sunlight | Foil Sachet | Karex Industries | Innolatex (Thailand) Limited | Lot E1-6, Export Processing Zone Southern Industrial Estate, Village 4, Chalung sub-district, Hatyai Distric, Songkhla, Thailand 90110 | US FDA 510K: USAID
| Male Latex Condom | YELLOW/BANANA Condom | Silicone lubricated latex | 49 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from direct sunlight | Foil Sachet | Karex Industries | Innolatex (Thailand) Limited | Lot E1-6, Export Processing Zone Southern Industrial Estate, Village 4, Chalung sub-district, Hatyai Distric, Songkhla, Thailand 90110 | US FDA 510K: USAID
| Male Latex Condom | YELLOW/BANANA Condom | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from direct sunlight | Foil Sachet | Karex Industries | Innolatex (Thailand) Limited | Lot E1-6, Export Processing Zone Southern Industrial Estate, Village 4, Chalung sub-district, Hatyai Distric, Songkhla, Thailand 90110 | US FDA 510K: USAID
| Male Latex Condom | RED/STRAWBERRY Condom | Silicone lubricated latex | 49 mm straight walled Red/Strawberry | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | US FDA 510K: USAID
| Male Latex Condom | RED/STRAWBERRY Condom | Silicone lubricated latex | 53 mm straight walled Red/Strawberry | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | US FDA 510K: USAID
| Male Latex Condom | YELLOW/BANANA Condom | Silicone lubricated latex | 49 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | US FDA 510K: USAID
| Male Latex Condom | YELLOW/BANANA Condom | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | US FDA 510K: USAID
| Male Latex Condom | NATURAL/VANILLA Condom | Silicone lubricated latex | 49 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | US FDA 510K: USAID
| Male Latex Condom | NATURAL/VANILLA Condom | Silicone lubricated latex | 53 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | US FDA 510K: USAID
| Male Latex Condom | BLUE/VANILLA Condom | Silicone lubricated latex | 49 mm straight walled Blue/Vanilla | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | US FDA 510K: USAID
| Male Latex Condom | BLUE/VANILLA Condom | Silicone lubricated latex | 53 mm straight walled Blue/Vanilla | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Limited (Thailand) | 31/1 Moo 4 Suratthani-Thakuapha Road Tambon Khao Hua Kwai, Amphur Phunphin Suratthani 84130, Thailand | US FDA 510K: USAID
| Male Latex Condom | RED/STRAWBERRY Condom | Silicone lubricated latex | 49 mm straight walled Red/Strawberry | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | US FDA 510K: USAID
| Male Latex Condom | RED/STRAWBERRY Condom | Silicone lubricated latex | 53 mm straight walled Red/Strawberry | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | US FDA 510K: USAID
| Male Latex Condom | YELLOW/BANANA Condom | Silicone lubricated latex | 49 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | US FDA 510K: USAID
| Male Latex Condom | YELLOW/BANANA Condom | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | US FDA 510K: USAID
| Male Latex Condom | NATURAL/VANILLA Condom | Silicone lubricated latex | 49 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | US FDA 510K: USAID
| Male Latex Condom | NATURAL/VANILLA Condom | Silicone lubricated latex | 53 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat, direct sunlight and mechanical damage. | Foil Sachet | Suretex Limited [Note: Transitioning to LifeStyles] | Suretex Prophylactics (India) Private Limited | Plot No. 74 to 91 KIADB Indl. Estate Jiagni II phase Anekal Taluk, Bangalore - 560 105 | US FDA 510K: USAID
| Male Latex Condom | PINK/STRAWBERRY Condom | Silicone lubricated latex | 49 mm straight walled Pink / Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | US FDA 510K: USAID
| Male Latex Condom | PINK/STRAWBERRY Condom | Silicone lubricated latex | 53 mm straight walled Pink / Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | US FDA 510K: USAID
| Male Latex Condom | RED/STRAWBERRY Condom | Silicone lubricated latex | 49 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | US FDA 510K: USAID
| Male Latex Condom | RED/STRAWBERRY Condom | Silicone lubricated latex | 53 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | US FDA 510K: USAID
| Male Latex Condom | GREEN/APPLE Condom | Silicone lubricated latex | 49 mm straight walled Green / Apple | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | US FDA 510K: USAID
| Male Latex Condom | GREEN/APPLE Condom | Silicone lubricated latex | 53 mm straight walled Green / Apple | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | US FDA 510K: USAID
| Male Latex Condom | BLUE/VANILLA Condom | Silicone lubricated latex | 49 mm straight walled Blue / Vanilla | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | US FDA 510K: USAID
| Male Latex Condom | BLUE/VANILLA Condom | Silicone lubricated latex | 53 mm straight walled Blue / Vanilla | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | US FDA 510K: USAID
| Male Latex Condom | BROWN/CHOCOLATE Condom | Silicone lubricated latex | 49 mm straight walled Brown / Chocolate | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | US FDA 510K: USAID
| Male Latex Condom | BROWN/CHOCOLATE Condom | Silicone lubricated latex | 53 mm straight walled Brown / Chocolate | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | US FDA 510K: USAID
| Male Latex Condom | NATURAL/VANILLA Condom | Silicone lubricated latex | 49 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | US FDA 510K: USAID
| Male Latex Condom | NATURAL/VANILLA Condom | Silicone lubricated latex | 53 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | US FDA 510K: USAID
| Male Latex Condom | YELLOW/BANANA Condom | Silicone lubricated latex | 49 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | US FDA 510K: USAID
| Male Latex Condom | YELLOW/BANANA Condom | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [LAEMCHABANG] | 49-49/1, Factory Standard Building Export Zone 1, Laemchabang Industrial Estate, Moo 5 Thungsukhla, Sriracha, Chonburi, 20230 Thailand | US FDA 510K: USAID
| Male Latex Condom | PINK/STRAWBERRY Condom | Silicone lubricated latex | 49 mm straight walled Pink / Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Male Latex Condom | PINK/STRAWBERRY Condom | Silicone lubricated latex | 53 mm straight walled Pink / Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Male Latex Condom | RED/STRAWBERRY Condom | Silicone lubricated latex | 49 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Male Latex Condom | RED/STRAWBERRY Condom | Silicone lubricated latex | 53 mm straight walled Red / Strawberry | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Male Latex Condom | GREEN/APPLE Condom | Silicone lubricated latex | 49 mm straight walled Green / Apple | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Male Latex Condom | GREEN/APPLE Condom | Silicone lubricated latex | 53 mm straight walled Green / Apple | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Male Latex Condom | BLUE/VANILLA Condom | Silicone lubricated latex | 49 mm straight walled Blue / Vanilla | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Male Latex Condom | BLUE/VANILLA Condom | Silicone lubricated latex | 53 mm straight walled Blue / Vanilla | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Male Latex Condom | BROWN/CHOCOLATE Condom | Silicone lubricated latex | 49 mm straight walled Brown / Chocolate | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Male Latex Condom | BROWN/CHOCOLATE Condom | Silicone lubricated latex | 53 mm straight walled Brown / Chocolate | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Male Latex Condom | NATURAL/VANILLA Condom | Silicone lubricated latex | 49 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Male Latex Condom | NATURAL/VANILLA Condom | Silicone lubricated latex | 53 mm straight walled Natural/Vanilla | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Male Latex Condom | YELLOW/BANANA Condom | Silicone lubricated latex | 49 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Male Latex Condom | YELLOW/BANANA Condom | Silicone lubricated latex | 53 mm straight walled Yellow/Banana | 48 | Store in a cool dry place away from heat and direct sunlight. Condoms should be stored in appropriate closed containers in dry areas at a temperature below 40 oC (104oF) | Foil Sachet | Thai Nippon Rubber Industry Public Company Limited | Thai Nippon Rubber Industry Public Company Limited [PINTHONG] | 789/139, Pinthong Industrial Estate Building, Moo 1 Nongkham, Sriracha, Chonburi, 20110, Thailand | US FDA 510K: USAID
| Male Latex Condom | Natural Condom | Silicone lubricated latex | 53 mm straight walled | 60 | Store in a cool dry place, below 100oF and away from direct sunlight. | Foil Sachet | TTK Protective Devices Limited | TTK Protective Devices Limited [Puducherry] | No. 12, K.P. Natham Road Thiruvandar Koil, 605 102 Puducherry, India | US FDA 510K: USAID
Note on F4: Aida Cancel: Some countries may require shorter label shelf-life at registration.