## Reproductive Health List
GHSC ELIGIBLE REPRODUCTIVE HEALTH PRODUCT LIST [PUBLISHED 29 JUN 2021 UNCONTROLLED COPY]
CLICK HERE TO REPORT CORRECTIONS OR OMISSIONS WITH THIS LIST
DISCLAIMER (PUBLIC VERSION): The information contained in these eligible lists is provided for informational purposes only and represent the recommendation for procurement by the Global Health Supply Chain Program (GHSC), based on USAID and GHSC-PSM procurement strategies at the time of publication and may not reflect the current eligibility status. While efforts have been made to accurately represent each product, the information contained herein is based on information available to GHSC-QA and may not be all inclusive or be reflective of the currently marketed product. Also, the information in this list is not intended to be an endorsement of the supplier/manufacturer/product. Donors and other procurement agents are encouraged to follow their own guidelines and procedures for procurement decision making.
Product Unique ID | PRODUCT GROUP | Brand Name | Active Ingredient(s) (Pharmaceuticals) | Kit Components | Medical Device Attributes | Strength (Pharma) | Dosage Form | Package Size | Shelf-life (months) | Storage Conditions | Supplier | FPP Manufacturer | FPP Manufacturing Site | Country of Manufacture | Regulatory Basis of Approval | Date Added
301888 | Auto-Disable Syringe with Reuse Prevention Feature | BD SoloShot 1X | None | N/A | 1mL AD syringe with fixed needle of 22G x 1", RUP 1A, Sterile | NA | NA | 1 x Blister Pack 200 per box | 60 | No specific storage conditions required | Pfizer Overseas LLC | Becton Dickinson S.A. | Carretera de Mequineneza s/n 22520 Fraga (Huesca), Spain | Spain | CE Marked, US FDA 510K (K042934) | 2015-01-01
HD-AD1 | Auto-Disable Syringe with Reuse Prevention Feature | HD Syringe (HD-AD1) | None | N/A | 1mL AD syringe with fixed needle of 22G x 1", RUP 1B, Sterile | NA | NA | 1 x Blister Pack 100 per box | 60 | To be stored in a dry and ventilated environment free of corrosive gases and clean environment. It is strictly prohibited to store them in the same warehouse with chemicals and moist articles. | Missionpharma A/S | Jiangxi Honda Medical Equipment Group Ltd | No. 39 South Shengli Rd, Jinxian County, 331700 Nanchang, Jiangxi Province, PRC | China | CE Marked | 2020-07-31
ZH-A | Auto-Disable Syringe with Reuse Prevention Feature | Yushou Syringe (ZH-A) | None | N/A | 1 mL AD syringe with fixed needle of 22G x 1", RUP 1A, Sterile | NA | NA | 1 x Blister Pack 100 per box | 60 | Stable storage temperature: 0-38oC. The product should be stored in dry and well-ventilated room with relative humidity of less than 80% and no corrosion gas | Missionpharma A/S | Wuxi Yushou Medical Appliance Co. Ltd | No. 115 Nongxinhe Road, Dongbeitang town, Wuxi City, Jiangsu Province, China | China | CE Marked | 2020-07-31
PRD 02148 | Auto-Disable Syringe with Reuse Prevention Feature | Kojak Selinge (PRD 02148) | None | N/A | 1 mL AD syringe with fixed needle of 22G x 1", RUP , Sterile | NA | NA | 1 x Blister Pack 100 per box | 60 |  | Mylan Laboratories Limited | Hindustan Syringes & Medical Devices Ltd | 174, 178/25 Ballabgarh, Faridabad, India 121004 | India | CE Marked | 2019-08-15
PRD 03799 | Auto-Disable Syringe with Reuse Prevention Feature | Kojak Selinge | None | N/A | 2mL AD syringe with fixed needle, 24G x 1", RUP 1B, Sterile | NA | NA | 1 x Blister Pack 100 per box | 60 | Store in clean, dry and insect - free place | Incepta Pharmaceuticals Ltd | Hindustan Syringes & Medical Devices Ltd | 174, 178/25, Ballabgarh, Faridabad, India 121004 | India | CE Marked | 2020-07-17
| Fertility Awareness-based Method | CycleBeads | None | N/A | N/A | NA | NA |  |  |  | Cycle Technologies | Cycle Technologies |  | India | N/A | 2016-04-27
9030400528 Kit 1: Consumable kit for insertion and removal of contraceptive implants, blade only | Contraceptive Implant Insertion/Removal Kit S | Implant insertion/removal kit (B) | NA | * Povidone Iodine Solution 10%, 500 ml bottle USP or BP or equivalent (1 bottle) * Cotton wool, 500g, roll, non-sterile (1 pack) * Gloves, surgical, size 7.0, powder-free, sterile, single use (15 pairs) * Gloves, surgical, size 7.5, powder-free, sterile, single use (5 pairs) * Gloves, surgical, size 8.0, powder-free, sterile, single use (5 pairs) * Lidocaine hydrochloride 1% , 20ml ampoule USP or BP or equivalent (12 vials) * Syringe, luer, 5ml, sterile, 2 part, concentric tip, 23G (25 pieces) * Adhesive wound plaster, 19 x72mm, waterproof (25 pieces) * Gauze, 8cm x 4m, roll, 100% cotton (5 rolls) * Surgical scalpel blade (No. 10), sterile, disposable (5 pieces) * Tape, adhesive plaster, 2.5cm x 5m (1 roll) | N/A | NA | NA | NA | >24 months | Store below 30 ⁰C in a clean, dry, dust & linit-free area, protected from light | The Medical Export Group (MEG) | Various | Distributor: The Medical Export Group, Papland 16 4206 CL P.O. Box 598 4200 AN Gorichem, The Netherlands Kitter: The Medical Export Group, Papland 16 4206 CL P.O. Box 598 4200 AN Gorichem, The Netherlands | Netherlands | USAID/UNFPA | 2019-12-30
Kit 2: Supplier Identification Number to be confirmed upon order placement | Contraceptive Implant Insertion/Removal Kit SB | Implant insertion/removal kit (SB) | NA | * Povidone Iodine Solution 10%, 500 ml bottle USP or BP or equivalent (1 bottle) * Cotton wool, 500g, roll, non-sterile (1 pack) * Gloves, surgical, size 7.0, powder-free, sterile, single use (15 pairs) * Gloves, surgical, size 7.5, powder-free, sterile, single use (5 pairs) * Gloves, surgical, size 8.0, powder-free, sterile, single use (5 pairs) * Lidocaine hydrochloride 1% , 20ml ampoule USP or BP or equivalent (12 vials) * Syringe, luer, 5ml, sterile, 2 part, concentric tip, 23G (25 pieces) * Adhesive wound plaster, 19 x72mm, waterproof (25 pieces) * Gauze, 8cm x 4m, roll, 100% cotton (5 rolls) * Scalpel (No. 3) with Blade (No. 10), sterile, single use, retractable and lockable (5 pieces) * Tape, adhesive plaster, 2.5cm x 5m (1 roll) | N/A | NA | NA | NA | >24 months | Store below 30 ⁰C in a clean, dry, dust & linit-free area, protected from light | The Medical Export Group (MEG) | Various | Distributor: The Medical Export Group, Hooglandseweg 6, 4214KG, Vuren, The Netherlands Kitter: The Medical Export Group, Hooglandseweg 6, 4214KG, Vuren, The Netherlands | Netherlands | USAID/UNFPA | 2019-12-30
PSMRPH Kit/PN-13636 | Contraceptive Implant Insertion/Removal Kit S | Implant insertion/removal kit | NA | * Povidone Iodine Solution 10%, 500 ml bottle, disinfectant, topical solution (1 bottle) * Cotton wool, 500g, absorbant (1 pack) * Gloves, surgical, size 7.0, powder-free, sterile, single use (15 pairs) * Gloves, surgical, size 7.5, powder-free, sterile, single use (5 pairs) * Gloves, surgical, size 8.0, powder-free, sterile, single use (5 pairs) * Lidocaine hydrochloride 1% , 20ml ampoule USP or BP or equivalent (12 vials) * Syringe disp., 5ml, sterile, 3 part with needle, 23G x 1, Iuer lock (25 pieces) * Adhesive Plaster with wound pad, 19 x72mm, waterproof (25 pieces) * Gauze bandage, 8cm x 4m, individual packed, selfedged (5 rolls) * Surgical scalpel blade (No. 10), sterile, disposable (5 pieces) * Adhesive tape, 2.5cm x 5m, Z.O.P white (1 roll) | N/A | NA | NA | NA | >24 months | Store below 25 ⁰C in a clean, dry, dust & linit-free area, protected from light | Missionpharma A/S | Various | Distributor: Missionpharma A/S Vassingeroedvej 9, DK-3540, Lynge, Denmark Kitter: Missionpharma Logistics India Pvt. Ltd. Plot No. 5-A, I, II & III, Sector 3, Kandla SEZ, Gandhidham – Kutch – 370230, Gujarat, India | India | USAID/UNFPA | 2019-12-30
PSMRPH Kit/PN-13962 | Contraceptive Implant Insertion/Removal Kit SB | Implant insertion/removal kit (SB) | NA | * Povidone Iodine Solution 10%, 500 ml bottle, disinfectant, topical solution (1 bottle) * Cotton wool, 500g, absorbant (1 pack) * Gloves, surgical, size 7.0, powder-free, sterile, single use (15 pairs) * Gloves, surgical, size 7.5, powder-free, sterile, single use (5 pairs) * Gloves, surgical, size 8.0, powder-free, sterile, single use (5 pairs) * Lidocaine hydrochloride 1% , 20ml ampoule USP or BP or equivalent (12 vials) * Syringe disp., 5ml, sterile, 3 part with needle, 23G x 1, Iuer lock (25 pieces) * Adhesive Plaster with wound pad, 19 x72mm, waterproof (25 pieces) * Gauze bandage, 8cm x 4m, individual packed, selfedged (5 rolls) * Scalpel with blade, sterile, single use, retractable and lockable (5 pieces) * Adhesive tape, 2.5cm x 5m, Z.O.P white (1 roll) | N/A | NA | NA | NA | >24 months | Store below 25 ⁰C in a clean, dry, dust & linit-free area, protected from light | Missionpharma A/S | Various | Distributor: Missionpharma A/S Vassingeroedvej 9, DK-3540, Lynge, Denmark Kitter: Missionpharma Logistics India Pvt. Ltd. Plot No. 5-A, I, II & III, Sector 3, Kandla SEZ, Gandhidham – Kutch – 370230, Gujarat, India | India | USAID/UNFPA | 2019-12-30
| Levonorgestrel (150 mg) Releasing Implant | Jadelle | Levonorgestrel | N/A | N/A | 2 x 75mg/rod | Implant | 2 rods 100 sets/case | 60 | Do not store above 30°C | Bayer AG | Bayer Oy | Pansiontie 47, FI-20210 Turku, Finland | Finland | SRA (Finland): 17098 WHO PQ: RH017 | 2015-01-01
Not provided | Levonorgestrel (150 mg) Releasing Implant | Levoplant | Levonorgestrel | N/A | N/A | 2 x 75mg/rod | Implant | 2 rods/Pouch X 10 | 60 | Do not store above 30°C | WomanCare Global Trading CIC | Shanghai Dahua Pharmaceutical Co Ltd. | 3503 Changzheng Road Changzheng Farm, Chongming County Shanghai, China | China | WHO PQ: RH028 | 2018-08-10
ROW 1952894 ESA 1953729 FSA 1953126 PSA 1038473 | Etonorgestrel (68 mg) Releasing Implant | Implanon/NXT | Etonogestrel | N/A | N/A | 68mg | Implant | 1 rod /Blister | 60 | Do not store above 30°C. Store in the original blister package. | N.V.Organon | N.V. Organon | Kloosterstraat 6 5349 AB Oss The Netherlands | Netherlands | SRA (The Netherlands): NL/H 16/1010471D WHO PQ: RH036 | 2021-03-02
F000201632 | Medroxyprogesterone Acetate 150 mg Injectable | Depo-Provera | Medroxyprogesterone Acetate | Approved for use with TE 00717 BD SoloShot 1X |  | 150 mg/ mL | Injectable | 200 vials per box 400 vials/case | 48 | Do not refrigerate or freeze, store below 30⁰C Store vials upright. | Pfizer Overseas LLC | Pfizer Manufacturing Belgium NV | Rijksweg 12, B-2870 Puurs, Belgium | Belgium | SRA (Swedish MPA: 9201) | 2015-01-01
E2092 | Medroxyprogesterone Acetate 150 mg Injectable | Triclofem | Medroxyprogesterone Acetate | Approved for use with TE 00713 HD Syringe (HD-AD1) Approved for use with TE 00715 Yushou Syringe (ZH-A) |  | 150 mg/ mL | Injectable | 20 Vials per inner box 500 vials per carton | 48 | Store below 30 oC Store vials upright. | Missionpharma A/S | PT Tunggal Idaman Abdi | Jalan Jendral Ahmad Yani No. 7, Jakarta Timur 13230, Indonesia | Indonesia | USAID (Certified Wholesaler) | 2018-09-11
F000038660 | Medroxyprogesterone Acetate 104 mg/0.65 mL | Sayana Press | Medroxyprogesterone Acetate | N/A | N/A | 104 mg/ 0.65 mL | Injectable | pouch 1x1 | 36 | Do not refrigerate or freeze, store below 30°C | Pfizer Overseas LLC | Pfizer Manufacturing Belgium NV | Rijksweg 12, B-2870 Puurs, Belgium | Belgium | SRA (The Netherland) | 2015-01-01
551036 | Norethisterone Enantate Oily Solution 0.2g/mL | Noristerat | Norethisterone Enantate | N/A | N/A | 0.2 g/mL | Solution: Oily | 1 mL/ampule 100 ampules/pack | 60 | Protect from light. Do not store above 30 °C. | Bayer AG | Bayer AG | Mullerstr. 178, 13353, Berlin, Germany | Germany | SRA (Germany): 6929575.00.00 WHO PQ: RH 022 | 2017-07-28
300001490 | Medroxyprogesterone Acetate 150 mg Injectable | Contrasafe | Medroxyprogesterone Acetate | Approved for use with TE 00395 Kojak Selinge | N/A | 150 mg/ mL | Injectable | 25 vials per inner box | 36 | Do not store above 30⁰C. Do not freeze. | Mylan Laboratories Limited | Mylan Laboratories Ltd. | Plot No. 20 & 21, Pharmez, Ahmedabad, India | India | WHO PQ: RH074 | 2019-08-15
13000989 | Medroxyprogesterone Acetate 150 mg Injectable | Medogen 150 mg/mL suspension for injection | Medroxyprogesterone Acetate | Approved for use with AMEX: Yushou Auto Disable Syringe (Model ZH-BIR-2mL-F24G) - TE 00714 [ONE TIME PROCUREMENT ONLY] Approved for use with TE 00722 Kojak Selinge (PRD 03799) |  | 150 mg/ mL | Injectable | 1 ml Vial; 1 vial/package, or 20 vials/case | 36 Months | Do not store above 30°C. Do not freeze. Store vials in the cartons to protect from light. | Incepta Pharmaceuticals Ltd | Incepta Pharmaceuticals Ltd | Incepta Pharmaceuticals Ltd, Unit –1, Injectable Potent Drug (IPD) Krishnapura, Sahabelishor, Dhamrai, Dhaka, Bangladesh | Bangladesh | WHO PQ (RH084) | 2020-04-27
| TCu380A | Pregna Model TCu380A |  | Copper |  | NA | Intrauterine Device | 300/outer carton | 84 | On secondary label: Store in cool, dry condition, away from sunlight On primary label: Protect from heat, sunlight, water and mechanical shocks | Pregna International Ltd. | Pregna International Ltd. | Plot No.-219, Survey No.-168, Dabhel Industrial Co-op Society Limited, Debhel, Daman (U.T) - 396210, INDIA | India | CE Mark and WHO PQ | 2018-06-01
SMB TCu380 | TCu380A | SMB TCu380A |  | Copper |  | NA | Intrauterine Device |  | 84 | Protect from excessive heat (40 - 104 ⁰F) Sunlight, water and mechanical shocks | SMB Corporation of India | SMB Corporation of India | 13, 33-36 Prem Industrial Estate, Subhash Road, Jogeshwari €, Mumbai 400060, India | India | USAID/UNFPA | 2019-03-19
864977 | Levonorgestrel (0.15 mg) and Ethinyl Estradiol (0.03 mg): Sugar Placebo Tablets | Microgynon ED | Levonorgestrel / Ethinyl Estradiol |  |  | 150 μg / 30 μg | Tablets | 28 Tablets/BL x 3 (21 Hormone + 7 Sugar Placebo)/BL | 36 | Do not store above 30⁰C. Protect from moisture | Bayer AG | Bayer Weimar GmbH and Co. KG; Bayer AG | Bayer Weimar GmbH und Co. KG Doebereinerstrasse 20 99427 Weimar, Germany And Bayer AG Müllerstrasse 178 13353 Berlin, Germany | Germany | SRA (Germany): 6929523.00.00 | 2021-06-11
84551015 | Levonorgestrel (0.15 mg) and Ethinyl Estradiol (0.03 mg): Fe Placebo Tablets | Microgynon ED Fe | Levonorgestrel / Ethinyl Estradiol | N/A | N/A | 150 μg / 30 μg | Tablets | 28 Tablets/BL x 3 (21 Hormone + 7 Fe Placebo)/BL Note: Aclar blister | 36 | Do not store above 30°C. | Bayer AG | Bayer Weimar GmbH and Co. KG, | Döbereiner Str. 20 99427 Weimar, Germany(bulk manufacturing); Bayer Pharma AG, Berlin, Germany (packaging and release) | Germany | SRA (Germany): 6929523.00.00 | 2015-01-01
84657255 | Levonorgestrel (0.15 mg) and Ethinyl Estradiol (0.03 mg): Fe Placebo Tablets | Combination 3 | Levonorgestrel / Ethinyl Estradiol | N/A | N/A | 150 μg / 30 μg | Tablets | 28 Tablets/BL x 100 (21 Hormone + 7 Fe Placebo)/BL Note: Aclar blister | 36 | Do not store above 30°C. | Bayer AG | Bayer Weimar GmbH and Co. KG, | Döbereiner Str. 20 99427 Weimar, Germany(bulk manufacturing); Bayer Pharma AG, Berlin, Germany (packaging and release) | Germany | SRA (Germany): 6929523.00.00 | 2015-01-01
400003217 | Levonorgestrel (0.15 mg) and Ethinyl Estradiol (0.03 mg): Fe Placebo Tablets | Zinnia-F | Levonorgestrel / Ethinyl Estradiol | N/A | N/A | 150 μg / 30 μg | Tablets | 28 Tablets/BL x 3 (21 Hormone + 7 Fe Placebo)/BL | 36 | Do not store above 30oC. Protect from light. | Mylan Laboratories Limited | Mylan Laboratories Ltd. | Mylan Laboratories Ltd. Plot No 20 & 21, Pharmez, Sarkhej – Bavia National Highway No.-8-A, Near Village Matoda, Tal-Sanand, Dist – Ahmebadad, 382213 | India | WHO PQ: RH038 | 2018-06-01
400002020 | Levonorgestrel (0.15 mg) and Ethinyl Estradiol (0.03 mg): Sugar Placebo Tablets | Zinnia-P | Levonorgestrel / Ethinyl Estradiol | N/A | N/A | 150 μg / 30 μg | Tablets | 28 Tablets/BL x 3 (21 Hormone + 7 Sugar Placebo)/BL | 36 | Store below 30°C. Store in the original package. Protect from light | Mylan Laboratories Limited | Mylan Laboratories Ltd. | Levonorgestrel/EE Tablets + Placebo Mylan Laboratories Limited Plot No. 1606 to 1609, G.I.D.C., Sarigam, Tal Dist-Valsad – 396 155 Mylan Laboratories Limited Plot No 20 & 21, Pharmez Sarkhej-Bavla, National Highway No. 8A Near Village Matoda, Taluka: Sanad Dist. Ahmedbad, 382213, Gujarat, India | India | WHO PQ: RH035 | 2018-06-01
400002721 | Levonorgestrel 0.75 mg | Revoke 72 | Levonorgestrel | N/A | N/A | 0.75 mg | Tablets | 2 Tablets/Blister | 36 | Do not store above 30°C. Protect from light. Store the tablet in blister in provided carton | Mylan Laboratories Limited | Mylan Laboratories Ltd. | Plot No. 20 & 21, Pharmez, Ahmedabad, India | India | WHO PQ: RH032 | 2020-12-22
400002794 | Levonorgestrel 1.5 mg | Revoke 1.5 | Levonorgestrel | N/A | N/A | 1.5 mg | Tablets | 1 Tablet/Blister | 36 | Do not store above 30°C. Protect from light. | Mylan Laboratories Limited | Mylan Laboratories Ltd. | Plot No. 20 & 21, Pharmez, Ahmedabad, India | India | WHO PQ: RH031 | 2018-06-01
31002354 | Levonorgestrel 0.75 mg | Pill 72 | Levonorgestrel | N/A | N/A | 0.75 mg | Tablets | 2 Tablets/Blister | 24 | Do not store above 30°C. Protect from light. Store tablets in blister in the provided carton. | Cipla Limited | Cipla Limited | Unit VIII, Plot No. L-147 to L-147-1, Verna Industrial Estate, Goa, India | India | WHO PQ: RH040 | 2018-06-01
31002392 | Levonorgestrel 1.5 mg | I-Pill | Levonorgestrel | N/A | N/A | 1.5 mg | Tablets | 1 Tablet/Blister | 24 | Do not store above 30°C. Protect from light. Store tablets in blister in the provided carton. | Cipla Limited | Cipla Limited | Unit VIII, Plot No. L-147 to L-147-1, Verna Industrial Estate, Verna Goa, India | India | WHO PQ: RH046 | 2018-06-01
80757220 | Levonorgestrel 0.03 mg Tablet | Microlut | Levonorgestrel | N/A | N/A | 0.03 mg | Tablets | Each box contains 3 blisters with 35 pills PVC/Alu blister; 720 cycles/case | 60 | Do not store above 30°C. | Bayer AG | Bayer AG | Döbereiner Str. 20 99427 Weimar, Germany(bulk manufacturing); Bayer Pharma AG, Berlin, Germany (packaging and release) | Germany | SRA (Germany): 6929492.00.00 | 2020-12-22
Unique ID assigned by Country | Levonorgestrel-releasing intrauterine system | Avibela | Levonorgestrel | N/A | N/A | 52 mg | Intauterine System | Pouch inside a unit carton | 60 | Do not store above 30oC. Store pouch in outer carton until use to protect from light. | Impact RH360: Medicines 360 | Odyssea Pharma SPRL | Rue du Travail 16 4460 Grace-Hollogne Belgium | Belgium | SRA (Germany): BE 446586 | 2020-10-05
82961519 | Levonorgestrel-releasing intrauterine system | Mirena | Levonorgestrel | N/A | N/A | 52mg | Intrauterine System | Blister pack. The blister pack is then packaged in a carton of one sterile unit | 36 | Do not store above 30oC | Bayer AG | Bayer Oy | Pansiontie 47, FI-20210 Turku, Finland | Finland | SRA (Finland): FIMEA: 10212 | 2020-11-09
400003375 | Levonorgestrel 0.03 mg Tablet | Famy Pop | Levonorgestrel | N/A | N/A | 0.03 mg | Tablets | 28 tablets /BL x 3 | 36 | Do not store above 30 ⁰C. Protect from light. Store tablets in blisters in provided carton. | Mylan Laboratories Limited | Mylan Laboratories Ltd. | Plot No. 20 & 21, Pharmez, Ahmedabad, India | India | WHO PQ: RH057 | 2018-06-01
400003375 | Levonorgestrel 0.03 mg Tablet | Famy Pop | Levonorgestrel | N/A | N/A | 0.03 mg | Tablets | 35 tablets/BL x 3 | 36 | Do not store above 30 ⁰C. Protect from light. Store tablets in blisters in provided carton. | Mylan Laboratories Limited | Mylan Laboratories Ltd. | Plot No. 20 & 21, Pharmez, Ahmedabad, India | India | WHO PQ: RH057 | 2018-06-01

## TOTALSPIVOT (hidden)
Row Labels | Count of PRODUCT CLASS
Bayer AG | 2
Bayer Oy | 2
Bayer Weimar GmbH and Co. KG, | 2
Becton Dickinson S.A. | 1
Cycle Technologies | 1
Hindustan Syringes & Medical Devices Ltd | 2
Incepta Pharmaceuticals Ltd | 1
Jiangxi Honda Medical Equipment Group Ltd | 1
Mylan Laboratories Ltd. | 7
N.V. Organon | 1
Odyssea Pharma SPRL | 1
Pfizer Manufacturing Belgium NV | 2
Pregna International Ltd. | 1
PT Tunggal Idaman Abdi | 1
Shanghai Dahua Pharmaceutical Co Ltd. | 1
SMB Corporation of India | 1
Various | 4
Wuxi Yushou Medical Appliance Co. Ltd | 1
Cipla Limited | 2
Bayer Weimar GmbH and Co. KG; Bayer AG | 1
Grand Total | 35
Timeline: Works in Excel 2013 or higher. Do not move or resize.

## RISKBY CLASSSPIVOT (hidden)
Count of TE# | Column Labels
Row Labels | CERTIFIED | Grand Total
CONTRACEPTIVES: ORAL HORMONAL CONTRACEPTIVES: PROGESTOGEN-ONLY | 1 | 1
CONTRACEPTIVES: INTRAUTERINE DEVICES | 2 | 2
CONTRACEPTIVES: IMPLANTABLE CONTRACEPTIVES | 2 | 2
CONTRACEPTIVES: INJECTABLE HORMONAL CONTRACEPTIVES | 3 | 3
CONTRACEPTIVES: ORAL HORMONAL CONTRACEPTIVES: COMBINED ORAL CONTRACEPTIVES | 3 | 3
Grand Total | 11 | 11

## RISKBYMANUFPIVOT (hidden)
Count of TE# | Column Labels
Row Labels | CERTIFIED | Grand Total
N.V. Organon | 1 | 1
Bayer Weimar GmbH and Co. KG; Bayer AG | 1 | 1
Odyssea Pharma SPRL | 1 | 1
Bayer AG | 2 | 2
Pfizer Manufacturing Belgium NV | 2 | 2
Bayer Weimar GmbH and Co. KG, | 2 | 2
Bayer Oy | 2 | 2
Grand Total | 11 | 11

## MAPPIVOT (hidden)
Row Labels | TE
Bangladesh | 1
Belgium | 3
China | 3
Finland | 2
Germany | 5
India | 16
Indonesia | 1
Netherlands | 3
Spain | 1

## TOTALPIVOT (hidden)
Count of TE# | Column Labels
Row Labels | CERTIFIED | Grand Total
CONTRACEPTIVES: IMPLANTABLE CONTRACEPTIVES | 2 | 2
CONTRACEPTIVES: INJECTABLE HORMONAL CONTRACEPTIVES | 3 | 3
CONTRACEPTIVES: INTRAUTERINE DEVICES | 2 | 2
CONTRACEPTIVES: ORAL HORMONAL CONTRACEPTIVES: COMBINED ORAL CONTRACEPTIVES | 3 | 3
CONTRACEPTIVES: ORAL HORMONAL CONTRACEPTIVES: PROGESTOGEN-ONLY | 1 | 1
Grand Total | 11 | 11
Timeline: Works in Excel 2013 or higher. Do not move or resize.

## TYPEPIVOT (hidden)
Row Labels | Count of TE# | Percent
Medical Device | 9 | 25.71% | Medical Device 9 26%
Medical Kit | 4 | 11.43% | Medical Kit 4 11%
Other | 1 | 2.857% | Other 1 3%
Pharmaceutical | 21 | 60% | Pharmaceutical 21 60%

## Climatic Zone Definition (hidden)
Figure 1: ICH Proposed criteria and long-term testing conditions (ICH Q1A(R2), 2003) |  |  |  | Figure 2: ICH Recommended labelling statements for finished pharmaceutical products (FPPs) (ICH Q1A(R2), 2003)
Climatic Zone | Definition | Criteria | Long-term testing conditions | Testing condition under which the stability of the FPP has been demonstrated | Recommended labeling statement
|  | Mean annual temperature measured in the open air/mean annual partial water vapour pressure |  | 25 oC/60%RH (long-term) | “Do not store above 25 oC”
I | Temperate climate | ≤ 15 oC / ≤ 11 hPa | 21 oC/ 45% RH | 40 oC/75%RH (accelerated)
II | Subtropical and Mediterranean climate | > 15 to 22 oC / < 11 to 18 hPa | 25 oC/ 60% RH | 25 oC/60%RH (long-term) | “Do not store above 25 oC”
III | Hot and dry climate | > 22 oC / < 15 hPa | 30 oC/ 35% RH | 30 oC/65%RH (intermediate, failure of accelerated)
IVA | Hot and humid climate | > 22 oC / < 15 to 27 hPa | 30 oC/ 65% RH | 30 oC/65%RH (long-term) | “Do not store above 30 oC”
IVB | Hot and very humid climate | > 22 oC / > 27 hPa | 30 oC/ 75% RH | 40 oC/75%RH (accelerated)
|  |  |  | 30 oC/75%RH (long-term) | “Do not store above 30 oC”
40 oC/75%RH (accelerated)
|  |  |  | 5 oC ± 3 oC | “Store in a refrigerator (2 oC to 8 oC)”
|  |  |  | -20 oC ± 5 oC | “Store in freezer”
Stability testing of active pharmaceutical ingredients and ﬁ nished pharmaceutical products
Appendix 1 Long-term stability testing conditions as identiﬁ ed by WHO Member States